## Instructions & Guide
ENERGY, SMART GRID & UTILITY SCADA OPERATIONS COMMAND
Power Generation, Transmission Dispatch & Smart Grid Architecture Manual
Sheet Name | Smart Grid & Energy Domain Scope | Primary Operating Unit
Executive Smart Grid Dashboard | Unified 8-KPI power generation, renewable share, SAIDI/SAIFI & SCADA command | Chief Operating Officer / VP System Dispatch
SCADA Substation Telemetry | 150kV/500kV primary transmission substations, breaker state & bus voltages | Pusat Pengatur Beban (P2B) Dispatchers
Smart Meter AMI Infrastructure | Advanced Metering Infrastructure (AMI), cellular mesh readings & tamper flags | Distribusi & Niaga Smart Meter Lead
Renewable Solar & Wind Farm | Grid-tied solar PV parks, wind turbines, inverter efficiency & curtailment | Renewable Energy Independent Power Producers
Grid Outage SAIDI & SAIFI | System interruption frequency/duration indices, feeder trip analysis & restoration | Reliability Engineering & Grid Operations
BESS Battery Energy Storage | Utility-scale lithium-ion BESS, State of Charge (SoC), C-Rate & frequency support | Energy Storage & Ancillary Services Lead
Demand Response & Peak Shaving | Industrial load shedding, automated dynamic tariff response & peak load relief | Energy Trading & Demand Management Unit
Transmission Line Thermal Loss | High voltage line loading %, conductor thermal ratings & transmission losses | Transmisi & Pemeliharaan Jalur Udara (SUTET)
Transformer Health & DGA Oil | Dissolved Gas Analysis (DGA), transformer oil insulation, hot-spot telemetry | Substation Asset Integrity & Maintenance
EV Fast Charging Station Grid | Public EV fast chargers (SPKLU), grid impact buffer & dynamic load balancer | EV Infrastructure & Smart Mobility Team
Utility Cyber OT Sec IEC 62443 | Industrial control systems (ICS/SCADA) air-gap defense, modbus anomaly & certs | OT Cyber Security & Critical Infrastructure
Carbon Offset & REC Credits | Scope 1/2 GHG emission abatement, Renewable Energy Certificate (REC) issuance | Sustainability ESG & Carbon Trading Officer
Strategic Utility Scorecard | Quarterly executive performance vs RUPTL 2026 & Net Zero Emission 2060 | Board of Directors / Kementerian ESDM

## Executive Smart Grid Dashboard
SMART GRID COMMAND CENTER & NATIONAL POWER SYSTEM DISPATCH
Unified Executive Mission Control • SCADA Telemetry, Smart Meter AMI, EBT Renewables, BESS & Carbon Abatement
TOTAL GRID TRANSMISSION LOAD |  | RENEWABLE POWER OUTPUT |  | GRID SAIDI DURATION |  | SMART METER READ RATE
Substation Load |  | Clean EBT Dispatch |  | Outage Minutes/Cust |  | AMI Connectivity %
BESS BATTERY STORAGE |  | DEMAND RESPONSE RELIEF |  | EV CHARGERS DISPENSED |  | CARBON ABATED (CO2e)
Utility Storage Reserve |  | Industrial Load Cut |  | Clean EV Transport |  | Clean Avoided Emissions
POWER GENERATION DISPATCH MIX (MW) |  |  |  | SMART GRID OPERATIONAL WATCHLIST
Energy Source | Dispatch (MW) | Mix Share % |  | Subsystem Ketenagalistrikan | Current Operating Metric | Target Keandalan Grid | Status Sistem
Gas Turbine Combined (PLTGU) | 2850 |  |  | Telemetri SCADA GITET 500kV |  | Cos Phi > 0.95
Supercritical Coal (PLTU) | 3450 |  |  | Smart Meter AMI Komunikasi |  | Read Rate > 99.50%
Hydro Power (PLTA) | 890 |  |  | Pembangkit EBT Surya & Angin |  | Zero Curtailment
Geothermal Clean (PLTP) | 780 |  |  | Indeks Keandalan SAIDI/SAIFI |  | SAIDI < 45 Menit
Solar PV & Wind (EBT) | 345.2 |  |  | Sistem Penyimpanan BESS |  | State of Health > 95%
TOTAL GENERATION |  |  |  | Demand Response Beban Puncak |  | Relief > 100 MW
|  |  |  | Termal Konduktor SUTET 500kV |  | Thermal Loading < 80%
|  |  |  | Kesehatan Minyak Trafo DGA |  | Zone 1 Normal
|  |  |  | Infrastruktur SPKLU Kendaraan |  | Zero Grid Overload
|  |  |  | Keamanan Siber OT IEC 62443 |  | 100% Air-Gap Protected
Monthly Renewable Generation Mix & Grid Reliability SAIDI (%) |  |  |  |  | Smart Grid SCADA & Utility Automation Index
Month | Target Renewable % | Actual Clean Power Mix % | Substation SCADA Uptime % |  | Operational Capability Pillar | Benchmark | Current Attainment
May | 32 | 33.4 | 99.85 |  | IEC 61850 Substation Protocol | 4.2 | 4.8
Jun | 34 | 35.1 | 99.88 |  | DERMS Solar Inverter Control | 4 | 4.5
Jul | 36 | 37.8 | 99.92 |  | Battery Storage BESS Dispatch | 4 | 4.6
Aug | 36 | 37.2 | 99.9 |  | Smart Meter AMI Telemetry | 4.2 | 4.7
Sep | 38 | 39.5 | 99.95 |  | Outage Management OMS Sync | 4 | 4.5
Oct | 40 | 41.8 | 99.98 |  | Cyber-Physical Grid Defense | 4.5 | 4.9
Substation Load Peak (MW) vs Grid Voltage Stability Index (%) |  |  |  |  | Smart Grid Power Dispatch Generation Mix (%)
Day | Peak Load (MW) | Voltage Stability % | SLA Floor % |  | Hour Window | Solar Photovoltaic | Wind Turbine Farms | BESS Battery Discharge | Natural Gas Peaker
Mon | 1450 | 99.85 | 99.5 |  | 00:00 - 06:00 | 0 | 42 | 18 | 40
Tue | 1520 | 99.82 | 99.5 |  | 06:00 - 12:00 | 45 | 28 | 12 | 15
Wed | 1480 | 99.88 | 99.5 |  | 12:00 - 16:00 | 55 | 25 | 8 | 12
Thu | 1560 | 99.8 | 99.5 |  | 16:00 - 20:00 | 18 | 32 | 28 | 22
Fri | 1620 | 99.78 | 99.5 |  | 20:00 - 24:00 | 0 | 38 | 32 | 30
Sat | 1380 | 99.92 | 99.5

## SCADA Substation Telemetry
TRANSMISSION SUBSTATION SCADA TELEMETRY (150kV / 500kV)
Substation Code | Substation Name | Voltage Class | Transformer Units | Active Load (MW) | Reactive Load (MVAr) | Busbar Voltage (kV) | Power Factor (cos phi) | Telemetry Status
GITET-CKR | GITET Cikarang Utama 500kV | 500 kV | 4 | 1850.5 | 420 | 502.5 | 0.975 | NORMAL_OPTIMAL
GITET-BDG | GITET Bandung Selatan 500kV | 500 kV | 3 | 1420 | 310.5 | 498.2 | 0.977 | NORMAL_OPTIMAL
GITET-SBY | GITET Krian Surabaya 500kV | 500 kV | 4 | 1920 | 440 | 501.8 | 0.974 | NORMAL_OPTIMAL
GI-JKT-01 | GI Gandul Jakarta 150kV | 150 kV | 3 | 480 | 95 | 151.2 | 0.981 | NORMAL_OPTIMAL
GI-JKT-02 | GI Senayan City Substation | 150 kV | 2 | 290 | 58 | 150.8 | 0.98 | NORMAL_OPTIMAL
GI-SMG-01 | GI Tambak Lorok Semarang | 150 kV | 3 | 420 | 88 | 149.5 | 0.979 | NORMAL_OPTIMAL
GI-DPS-01 | GI Pesanggaran Bali 150kV | 150 kV | 3 | 380 | 75 | 150.2 | 0.981 | NORMAL_OPTIMAL
TOTAL GRID TRANSMISSION LOAD

## Smart Meter AMI Infrastructure
ADVANCED METERING INFRASTRUCTURE (AMI) & CELLULAR IOT READINGS
Grid Distribution Zone | AMI Meter Fleet Size | Cellular Mesh Gateways | Daily Successful Reads % | Tamper / Bypass Alarms | Peak KWh Recorded | Billed KWh Volume | Discrepancy Delta % | AMI System Health
Jakarta Raya & Banten | 1850000 | 1240 | 99.85% | 24 | 28500000 | 28485000 | 0.05% | OPTIMAL_ACTIVE
Jawa Barat Regional | 2100000 | 1450 | 99.72% | 38 | 31200000 | 31180000 | 0.06% | OPTIMAL_ACTIVE
Jawa Tengah & DIY | 1650000 | 1120 | 99.8% | 18 | 22400000 | 22390000 | 0.04% | OPTIMAL_ACTIVE
Jawa Timur & Madura | 1950000 | 1380 | 99.78% | 29 | 29800000 | 29775000 | 0.08% | OPTIMAL_ACTIVE
Bali & Nusa Tenggara | 620000 | 480 | 99.91% | 8 | 9400000 | 9395000 | 0.05% | OPTIMAL_ACTIVE
TOTAL AMI METER NETWORK

## Renewable Solar & Wind Farm
RENEWABLE ENERGY GENERATION: FLOATING SOLAR PV & WIND FARMS
Generation Plant Name | Technology Type | Installed Capacity (MWp) | Current Output (MW) | Capacity Factor % | Inverter Efficiency % | Grid Curtailment % | Daily MWh Delivered | Operating Status
PLTS Terapung Cirata | Floating Solar PV | 192 | 168.5 | 87.7% | 98.5% | 0% | 1180 | ACTIVE_DISPATCH
PLTB Sidrap Sulawesi | Onshore Wind Turbines | 75 | 62 | 82.6% | 97.8% | 0% | 520 | ACTIVE_DISPATCH
PLTB Jeneponto Green | Onshore Wind Turbines | 72 | 58.5 | 81.2% | 97.6% | 0% | 485 | ACTIVE_DISPATCH
PLTS Likupang Minahasa | Ground-Mounted Solar PV | 21 | 18.2 | 86.6% | 98.2% | 0% | 135 | ACTIVE_DISPATCH
PLTS Atap Komersial JKT | Distributed Rooftop Solar | 45 | 38 | 84.4% | 98% | 0% | 270 | ACTIVE_DISPATCH
TOTAL RENEWABLE DISPATCH

## Grid Outage SAIDI & SAIFI
GRID RELIABILITY METRICS: SAIDI (DURATION) & SAIFI (FREQUENCY)
Regional Distribution Unit | Connected Customers | Total Interruption Events | Customers Impacted | Cumulative Outage (Hours) | SAIFI (Times/Cust) | SAIDI (Minutes/Cust) | Target SLA (min) | Reliability Status
UID Jakarta Raya Disjaya | 5200000 | 142 | 68000 | 24.5 | 0.013 | 18.5 | 30 | EXCEEDS_EXCELLENT
UID Jawa Barat | 8900000 | 380 | 245000 | 68 | 0.028 | 42 | 60 | EXCEEDS_EXCELLENT
UID Jawa Tengah & DIY | 7400000 | 290 | 185000 | 48 | 0.025 | 36.5 | 55 | EXCEEDS_EXCELLENT
UID Jawa Timur | 8100000 | 310 | 192000 | 52 | 0.024 | 38 | 55 | EXCEEDS_EXCELLENT
UID Bali & Wisata | 1850000 | 45 | 18200 | 8.5 | 0.01 | 12 | 25 | EXCEEDS_EXCELLENT
TOTAL GRID RELIABILITY (NATIONAL)

## BESS Battery Energy Storage
UTILITY-SCALE BATTERY ENERGY STORAGE SYSTEMS (BESS) TELEMETRY
BESS Facility Code | Location Substation | Battery Chemistry | Storage Capacity (MWh) | Continuous Power (MW) | State of Charge (SoC) % | State of Health (SoH) % | Frequency Support Mode | Battery Status
BESS-CR-01 | Cirata Solar Grid Tie | Lithium Iron Phosphate (LFP) | 100 | 50 | 88.5% | 99.2% | FAST_FREQUENCY_RESPONSE | OPTIMAL_ACTIVE
BESS-SD-02 | Sidrap Wind Buffer | Lithium Iron Phosphate (LFP) | 60 | 30 | 74% | 98.5% | RAMP_RATE_CONTROL | OPTIMAL_ACTIVE
BESS-GD-03 | Gandul Peaker Storage | LFP Utility Containers | 150 | 75 | 92% | 99.5% | PEAK_SHAVING_DISPATCH | OPTIMAL_ACTIVE
BESS-BL-04 | Pesanggaran Bali Eco | Lithium Nickel Manganese (NMC) | 80 | 40 | 81% | 98% | ISLANDING_BACKUP | OPTIMAL_ACTIVE
TOTAL BESS RESERVE CAPACITY

## Demand Response & Peak Shaving
AUTOMATED DEMAND RESPONSE (ADR) & INDUSTRIAL PEAK LOAD RELIEF
Consumer Contract ID | Industrial Participant | Industry Sector | Committed Relief (MW) | Curtailed Load (MW) | Activation Notice (min) | Financial Rebate (IDR) | Dispatch Event | Contract Status
ADR-IND-001 | PT Krakatau Steel Cilegon | Heavy Steel Manufacturing | 45 | 42.5 | 15 | 380000000 | EVENING_PEAK_SHAVE | ACTIVE_VERIFIED
ADR-IND-002 | PT Semen Indonesia Tuban | Cement & Building Materials | 35 | 35 | 15 | 295000000 | EVENING_PEAK_SHAVE | ACTIVE_VERIFIED
ADR-IND-003 | PT Chandra Asri Petrochem | Chemical Refining | 28 | 26.8 | 30 | 240000000 | EMERGENCY_RESERVE | ACTIVE_VERIFIED
ADR-IND-004 | PT Data Center Bersama | Hyperscale Cloud DC | 20 | 19.5 | 10 | 185000000 | GENERATOR_SWAP | ACTIVE_VERIFIED
TOTAL DEMAND RESPONSE RELIEF

## Transmission Line Thermal Loss
HIGH VOLTAGE TRANSMISSION LINE LOADING & CONDUCTOR THERMAL LOSS
Transmission Circuit Code | Origin - Destination SUTET | Rated Capacity (MVA) | Current Load (MVA) | Thermal Loading % | Conductor Temp (C) | Transmission Loss (MW) | Line Loss % | Operating State
SUTET-500-01 | Cikarang - Cirata Line 1 | 2000 | 1340 | 67% | 58.5 | 14.2 | 1.06% | NORMAL_OPTIMAL
SUTET-500-02 | Cirata - Bandung Selatan | 2000 | 1480 | 74% | 64 | 16.8 | 1.14% | NORMAL_OPTIMAL
SUTET-500-03 | Ungaran - Mandirancan | 2000 | 1550 | 77.5% | 68.2 | 18.5 | 1.19% | NORMAL_OPTIMAL
SUTET-500-04 | Mandirancan - Gandul | 2000 | 1620 | 81% | 72 | 21 | 1.3% | NORMAL_OPTIMAL
SUTET-500-05 | Paiton - Grati Line 1 | 2000 | 1420 | 71% | 62.5 | 15.5 | 1.09% | NORMAL_OPTIMAL
AVERAGE LINE THERMAL EFFICIENCY

## Transformer Health & DGA Oil
TRANSFORMER DISSOLVED GAS ANALYSIS (DGA) & DIELECTRIC OIL HEALTH
Transformer Asset ID | Installed Substation | Hydrogen H2 (ppm) | Methane CH4 (ppm) | Acetylene C2H2 (ppm) | Ethylene C2H4 (ppm) | Dielectric Breakdown (kV) | Duval Triangle Status | Asset Health Grade
TRF-CKR-IBT-01 | GITET Cikarang 500kV | 12 | 8.5 | 0 | 14.2 | 72.5 | ZONE_1_NORMAL | GRADE_A_HEALTHY
TRF-BDG-IBT-02 | GITET Bandung Selatan | 15 | 11 | 0 | 18 | 68 | ZONE_1_NORMAL | GRADE_A_HEALTHY
TRF-SBY-IBT-03 | GITET Krian Surabaya | 18 | 14.5 | 0.2 | 22 | 65.5 | ZONE_1_NORMAL | GRADE_A_HEALTHY
TRF-GDL-IBT-04 | GI Gandul Jakarta | 9.5 | 6.2 | 0 | 11.5 | 75 | ZONE_1_NORMAL | GRADE_A_HEALTHY

## EV Fast Charging Station Grid
STASIUN PENGISIAN KENDARAAN LISTRIK UMUM (SPKLU) GRID IMPACT
SPKLU Station Name | Hub Location | Fast Chargers (kW) | Daily Charging Sessions | Energy Dispensed (kWh) | Peak Demand (kW) | Smart Grid Load Buffer | Revenue (IDR) | Hub State
SPKLU Rest Area KM 57 Tol | Jakarta-Cikampek Toll | 4x 200kW Ultra-Fast | 148 | 5620 | 680 | LOCAL_BESS_BUFFERED | 14050000 | ONLINE_ACTIVE
SPKLU Senayan City Mall | Central Business District | 6x 60kW Fast | 185 | 4950 | 320 | DYNAMIC_LOAD_SHED | 12375000 | ONLINE_ACTIVE
SPKLU Bandara Soetta T3 | Airport Transit Terminal | 4x 150kW Ultra-Fast | 120 | 4400 | 520 | LOCAL_BESS_BUFFERED | 11000000 | ONLINE_ACTIVE
SPKLU Rest Area KM 207 Cirebon | Trans-Java Highway | 4x 200kW Ultra-Fast | 135 | 5100 | 640 | LOCAL_BESS_BUFFERED | 12750000 | ONLINE_ACTIVE
TOTAL EV CHARGING NETWORK

## Utility Cyber OT Sec IEC 62443
CRITICAL INFRASTRUCTURE OT / SCADA CYBERSECURITY (IEC 62443 / BSSN)
Substation / Control Center | SCADA Network Zone | IEC 62443 Security Level | Firewall Diode Air-Gap | Modbus / DNP3 Inspection | Anomalous Packet Rate | Incident Response Time | BSSN Audit Cert | Cyber Defense State
Pusat Pengatur Beban (P2B) | Purdue Level 3 Ops | SL-3 (High Resilience) | UNIDIRECTIONAL_DATA_DIODE | DPI_INSPECTED_ACTIVE | 0.00% | < 1.0 min | BSSN_CERTIFIED | SECURE_PROTECTED
GITET Cikarang 500kV | Purdue Level 2 Control | SL-3 (High Resilience) | DUAL_FIREWALL_AIRGAP | DPI_INSPECTED_ACTIVE | 0.00% | < 1.0 min | BSSN_CERTIFIED | SECURE_PROTECTED
GITET Krian 500kV | Purdue Level 2 Control | SL-3 (High Resilience) | DUAL_FIREWALL_AIRGAP | DPI_INSPECTED_ACTIVE | 0.00% | < 1.0 min | BSSN_CERTIFIED | SECURE_PROTECTED
PLTS Cirata Control Room | Purdue Level 2 Control | SL-2 (Standard Protection) | INDUSTRIAL_FIREWALL_OT | DPI_INSPECTED_ACTIVE | 0.00% | < 2.0 min | BSSN_CERTIFIED | SECURE_PROTECTED

## Carbon Offset & REC Credits
CARBON EMISSIONS ABATEMENT & RENEWABLE ENERGY CERTIFICATES (REC)
Clean Generation Source | Renewable Asset ID | Monthly Clean Energy (MWh) | Avoided Emission Factor | Abated CO2e (Tons) | REC Issued (MWh Certs) | Market Value (IDR) | Registry Status | Verification Standard
Cirata Floating Solar Park | REC-PLTS-001 | 35400 | 0.85 tCO2e/MWh | 30090 | 35400 | 1239000000 | APX_TIGR_REGISTERED | I-REC_STANDARD
Sidrap Wind Farm | REC-PLTB-002 | 15600 | 0.85 tCO2e/MWh | 13260 | 15600 | 546000000 | APX_TIGR_REGISTERED | I-REC_STANDARD
Jeneponto Wind Farm | REC-PLTB-003 | 14550 | 0.85 tCO2e/MWh | 12368 | 14550 | 509250000 | APX_TIGR_REGISTERED | I-REC_STANDARD
Likupang Solar Farm | REC-PLTS-004 | 4050 | 0.85 tCO2e/MWh | 3443 | 4050 | 141750000 | APX_TIGR_REGISTERED | I-REC_STANDARD
TOTAL CARBON ABATEMENT & RECs

## Strategic Utility Scorecard
EXECUTIVE SMART GRID STRATEGY & NET ZERO EMISSIONS 2060 SCORECARD
Strategic KPI Dimension | Target FY2026 | Q1 Actual | Q2 Actual | Q3 Actual (Proj) | Q4 Target | FY26 Projected | Variance vs Target | Executive Health
Bauran Energi Baru Terbarukan (EBT) % | 0.23 | 0.185 | 0.202 | 0.218 | 0.235 | 0.21 | -0.02 | ON_TRACK
Keandalan Jaringan SAIDI (< 45 min) | 45 | 32.5 | 28 | 25.5 | 24 | 27.5 | -17.5 | EXCEEDS
Keandalan Jaringan SAIFI (< 0.05 kali) | 0.05 | 0.022 | 0.019 | 0.018 | 0.015 | 0.019 | -0.031 | EXCEEDS
Penetrasi Smart Meter AMI (Juta Unit) | 8.5 | 6.2 | 7.1 | 8.17 | 8.5 | 7.49 | -1.01 | ON_TRACK
Kapasitas Penyimpanan BESS (MWh) | 500 | 310 | 390 | 450 | 500 | 412.5 | -87.5 | ON_TRACK
Ketersediaan SCADA Substation % | 99.95% | 99.92% | 99.96% | 99.98% | 99.99% | 99.96% | 0.01% | EXCEEDS
Penurunan Emisi Karbon (Juta Ton CO2e) | 1.2 | 0.85 | 0.98 | 1.12 | 1.25 | 1.05 | -0.15 | ON_TRACK
Efisiensi Rugi Transmisi Grid Losses % | 6.5% | 6.2% | 6.1% | 5.9% | 5.8% | 6% | -0.5% | EXCEEDS