## Instructions & Guide
PHARMACEUTICAL, BIOTECH GMP & CLINICAL TRIAL MANUAL
Operational Guidelines, Cleanroom HVAC Telemetry, Cold Chain Logistics & BPOM / FDA 21 CFR 11
Biopharmaceutical & Clinical Operations Architecture
Sheet Title | Functional Scope & Biomanufacturing Process Focus
Executive Pharma Dashboard | C-suite biopharma cockpit tracking commercial batch yield, cleanroom ISO compliance, cold chain integrity, clinical trial enrollment, and BPOM serialization.
GMP Cleanroom HVAC Telemetry | Cleanroom environmental telemetry: Differential pressure (Pa), temperature (°C), relative humidity (% RH), non-viable particle counts (0.5µm & 5.0µm ISO Class 5-8).
Batch Record QA QC Release | Electronic Batch Manufacturing Records (eBMR): In-process controls (IPC), HPLC chromatography assay, sterility testing, endotoxin LAL test, QA release turnaround.
Cold Chain Pharma Logistics | Temperature-controlled distribution (2-8°C, -20°C, -80°C ultra-low): IoT data logger telemetry, Mean Kinetic Temperature (MKT), GDP compliance, excursion alerts.
BPOM 2D Barcode Traceability | Serialization compliance: Indonesian BPOM 2D DataMatrix barcode scanning, GS1 Global Trade Item Number (GTIN), anti-counterfeiting verification, track & trace.
Clinical Trials EDC & Phase | Electronic Data Capture (EDC): Phase I-IV patient recruitment, Adverse Event (AE/SAE) monitoring, protocol deviations, GCP ethics committee clearances.
Drug Formulation & Bioassay | Formulation development: Solid Oral Dosage (OSD), sterile injectables, lyophilized vials, monoclonal antibody bioactivity assays, dissolution testing profiles.
Sterile Autoclave & CIP SIP | Aseptic sterilization: Clean-In-Place (CIP) & Steam-In-Place (SIP) cycles, F0 sterility value, biological indicator challenge tests, autoclave chamber validation.
Active Pharma Ingredient API | API synthesis & bioreactor fermentation: Cell density (VCD), glucose/lactate nutrient feed, crystallization yield, solvent recovery, raw material quarantine.
Pharmacovigilance Adverse Event | Post-market drug safety: MedDRA adverse event coding, Periodic Safety Update Reports (PSUR), causality assessment, signal detection, BPOM e-MESO reporting.
Clean Water WFI TOC Telemetry | Pharmaceutical water utilities: Water for Injection (WFI), Purified Water (PW), Total Organic Carbon (TOC ppb), electrical conductivity (µS/cm), bioburden CFU.
Pharma Cybersecurity & 21CFR11 | Data integrity & cybersecurity: FDA 21 CFR Part 11 audit trails, electronic signatures, SCADA historian backup, ALCOA+ data integrity principles.
Strategic Pharma Scorecard | Corporate biopharma KPIs: R&D pipeline conversion rate, manufacturing cost of goods (COGS), global regulatory approvals (WHO PQ, FDA, EMA), ESG water efficiency.

## Executive Pharma Dashboard
PHARMACEUTICAL, BIOTECH GMP & CLINICAL TRIAL COCKPIT
C-Level Executive Cockpit: Batch Yield, Cleanroom ISO, Cold Chain, Clinical EDC & BPOM Traceability
| COMMERCIAL UNITS PRODUCED Total Finished Dosage Units |  | BATCH RELEASE FIRST-PASS QA/QC Analytical Release Yield |  | CLEANROOM HVAC CONFORMANCE ISO Grade Environmental DP |  | ENROLLED CLINICAL PATIENTS Phase I-III Patient Cohorts
| COLD CHAIN INTEGRITY RATE Vaccine & Biologic Stock Doses |  | BPOM SERIALIZATION SCAN 2D DataMatrix Cartons Tracked |  | WFI ULTRA-PURE WATER (L/HR) Water for Injection Generation |  | FDA 21CFR11 DATA INTEGRITY Electronic Audit Trail Level
| Dosage Form Manufacturing Volume Share |  |  |  | Clinical Research Pipeline Share
| Dosage Form | Annual Units (Thousands) |  |  | Therapeutic Area | Patient Share (%)
| Solid Oral Tablets (OSD) | 1300 |  |  | Infectious Vaccines (TB) | 36
| Sterile Injectable Vials | 80 |  |  | Oncology (MAb Biosimilars) | 23
| Monoclonal Antibody (MAb) | 30 |  |  | Immunology & Autoimmune | 21
| Vaccine Pre-filled Syringes | 60 |  |  | Diabetes (Oral GLP-1) | 15
| Lyophilized Antibiotics | 45 |  |  | Cardiovascular Safety | 5
Biomanufacturing, Cleanroom & Quality Disposition Watchlist
| GxP System / Facility | Validation Standard | Current Telemetry / Output | Compliance Margin | Risk Anomaly Score | Quality Action Protocol | GxP Disposition
| Aseptic Grade A Filling Suite | ISO 14644-1 Grade A | 32.5 Pa DP (12 Particles) | 100% Parameter Conformance | Low Risk | Continuous laser particle counter active | Optimal
| Trastuzumab MAb Batch Release | BPOM / PIC/S GMP | 100.4% Assay (Pass LAL) | Zero Open Deviations | Low Risk | Qualified Person e-Sign verified | Released QA
| Central Vaccine Cold Chain | WHO GDP Annex 5 | 4.5°C MKT (2-8°C Buffer) | Zero Temperature Excursions | Low Risk | Dual redundant compressor standby armed | Optimal
| BPOM 2D Serialization Line | BPOM PerKa 22/2020 | 795,300 Cartons Verified | 100% Aggregation Accuracy | Low Risk | Real-time serialization cloud sync live | Serialized
| Phase III Biosimilar Clinical | ICH GCP E6(R2) | 415 Patients Enrolled (98.8%) | Zero Protocol Deviations | Low Risk | Independent Data Monitoring Committee cleared | On Track
| Bioreactor 2000L SIP Sterility | ASME BPE / PDA TR 1 | F0 48.5 Sterilization Value | All Biological Indicators Killed | Low Risk | SIP temperature sensors calibrated | Validated
| Water for Injection (WFI) Loop | USP <643> TOC & <645> | 28 ppb TOC (0.72 µS/cm) | 94% Below TOC Threshold | Low Risk | Continuous online TOC sensor streaming | Ultra-Pure
| MES & LIMS Cyber Security | FDA 21 CFR Part 11 | 3.32M GxP Records Protected | 100% Audit Trail Verified | Low Risk | ALCOA+ data integrity validated annually | Hardened
| Monthly Cleanroom Batch Sterility & Clinical Trial Milestone (%) |  |  |  |  | Pharmaceutical GMP & Biotech Clinical Index
| Month | Target Sterility % | Actual Batch Sterility % | Clinical Trial Protocol SLA % |  | Operational Capability Pillar | Benchmark | Current Attainment
| May | 98 | 98.8 | 91 |  | FDA 21 CFR Part 11 Audit | 4.5 | 4.9
| Jun | 98.5 | 99.1 | 92.5 |  | Cleanroom Particle Counters | 4.5 | 4.9
| Jul | 99 | 99.5 | 94 |  | Cold Chain Temp Excursion | 4.2 | 4.8
| Aug | 99 | 99.3 | 93.5 |  | Clinical EDC Patient Data | 4 | 4.6
| Sep | 99.5 | 99.8 | 96.2 |  | OOS Investigation Protocol | 4.2 | 4.7
| Oct | 99.9 | 99.95 | 98.5 |  | Bio-Reactor Ferment Batch | 4 | 4.5
| Bioreactor Monoclonal Antibody Titer Concentration Tolerance (g/L) |  |  |  |  | Clinical Trial Patient Retention & Drug Efficacy Pipeline Funnel
| Batch Lot | LCL Spec (g/L) | Target Titer | UCL Spec (g/L) | Harvest Titer | Trial Milestone | Starting Cohort | Retention Yield % | Drop-out %
| Batch-12 | 4.5 | 5 | 5.5 | 5.08 | 1. Screened Patients | 100 | 88 | 12
| Batch-13 | 4.5 | 5 | 5.5 | 4.96 | 2. Randomized Enrollment | 88 | 82.5 | 5.5
| Batch-14 | 4.5 | 5 | 5.5 | 5.12 | 3. Dose Escalation Protocol | 82.5 | 76 | 6.5
| Batch-15 | 4.5 | 5 | 5.5 | 5.03 | 4. Primary Endpoint Evaluation | 76 | 71.5 | 4.5
| Batch-16 | 4.5 | 5 | 5.5 | 4.98 | 5. Long-term Safety Follow-up | 71.5 | 68 | 3.5
| Batch-17 | 4.5 | 5 | 5.5 | 5.15 | 6. Validated Regulatory Dataset | 68 | 66.4 | 1.6

## GMP Cleanroom HVAC Telemetry
GMP CLEANROOM HVAC & ENVIRONMENTAL TELEMETRY
Differential Pressure (Pa), ISO 14644 Particle Counts, Temp (°C), Humidity (% RH) & HEPA Integrity
Cleanroom Zone / Suite | ISO Grade | Diff Pressure (Pa) | Target DP (Pa) | Temp (°C) | Humidity (% RH) | Particles 0.5µm/m³ | Target Limit | HEPA Filter Air Changes/Hr | GMP Environment Status
Aseptic Filling Line 1 (LAF) | Grade A (ISO 4.8) | 32.5 | >= 30 Pa | 20.2 | 44.5 | 12 | <= 3,520 | 65 | Compliant Grade A
Aseptic Filling Background | Grade B (ISO 5) | 24.8 | >= 20 Pa | 20.5 | 46 | 1850 | <= 3,520 | 45 | Compliant Grade B
Bioreactor Inoculation Suite | Grade B (ISO 5) | 22 | >= 20 Pa | 21 | 45.2 | 1420 | <= 3,520 | 40 | Compliant Grade B
Sterile Formulation Prep Suite | Grade C (ISO 7) | 16.5 | >= 15 Pa | 21.4 | 48 | 145000 | <= 352,000 | 30 | Compliant Grade C
Solid Oral Granulation Suite | Grade D (ISO 8) | 12 | >= 10 Pa | 22 | 51.5 | 1680000 | <= 3,520,000 | 22 | Compliant Grade D
Tablet Compression & Coating | Grade D (ISO 8) | 11.5 | >= 10 Pa | 22.2 | 52 | 1820000 | <= 3,520,000 | 20 | Compliant Grade D
QC Microbiology Lab Airflow | Grade B (ISO 5) | 21.5 | >= 20 Pa | 20.8 | 46.5 | 1250 | <= 3,520 | 42 | Compliant Grade B
CLEANROOM HVAC AVERAGE | [8 empty] | 100% Parameter Pass

## Batch Record QA QC Release
ELECTRONIC BATCH RECORD (eBMR) & QA/QC RELEASE
Chromatography Assay, Sterility LAL Endotoxin, Dissolution Profile & Qualified Person Release
Product Batch ID | Dosage Form / Molecule | Batch Size (Units) | Assay Potency (%) | Dissolution (%) | Sterility / Endotoxin | Deviations (Count) | Release Lead Time (Days) | Qualified Person (QP) | Batch Disposition
BN-2026-V101 | Trastuzumab MAb Sterile Vial | 15000 | 100.4 | 0 | Pass (<0.05 EU/mL) | 0 | 8.5 | Dr. Apt. Hendra, M.Si | Released QA
BN-2026-V102 | Trastuzumab MAb Sterile Vial | 15000 | 99.8 | 0 | Pass (<0.05 EU/mL) | 0 | 8 | Dr. Apt. Hendra, M.Si | Released QA
BN-2026-T401 | Metformin HCl 500mg Extended | 500000 | 99.5 | 94.2 | Sterile Not Req | 0 | 4.2 | Apt. Sari Dewi, S.Farm | Released QA
BN-2026-T402 | Paracetamol 500mg Film Coated | 800000 | 100.1 | 96.5 | Sterile Not Req | 0 | 3.8 | Apt. Sari Dewi, S.Farm | Released QA
BN-2026-I201 | Ceftriaxone Dry Powder Injectable | 45000 | 100.2 | 0 | Pass (<0.02 EU/mL) | 0 | 7.5 | Dr. Apt. Hendra, M.Si | Released QA
BN-2026-I202 | Meropenem Sterile Lyophilized | 35000 | 99.7 | 0 | Pass (<0.02 EU/mL) | 0 | 7.8 | Dr. Apt. Hendra, M.Si | Released QA
BN-2026-V301 | Quadrivalent Influenza Vaccine | 60000 | 101 | 0 | Pass (<0.01 EU/mL) | 0 | 9.2 | Dr. Apt. Hendra, M.Si | Released QA
COMMERCIAL BATCH TOTAL / AVG | [8 empty] | 100% Batch First-Pass

## Cold Chain Pharma Logistics
TEMPERATURE-CONTROLLED BIOPHARMA COLD CHAIN
2-8°C Vaccines, -20°C Biologics, -80°C Ultra-Cold Freezers, Mean Kinetic Temp (MKT) & Excursions
Cold Storage / Transit Asset | Temperature Regime | Current Temp (°C) | Target Range | MKT Temp (°C) | Excursions (>15 Min) | Datalogger Battery (%) | Shipment Volume (Doses) | GDP Compliance Status | Cold Chain Health
Central Vaccine Cold Room A | Refrigerated 2-8°C | 4.5 | 2.0°C to 8.0°C | 4.6 | 0 | 100 | 450000 | GDP Certified | Optimal
Biologic Finished Goods Cold Room B | Refrigerated 2-8°C | 4.8 | 2.0°C to 8.0°C | 4.9 | 0 | 100 | 280000 | GDP Certified | Optimal
Deep Freezer Room -20°C Unit 1 | Frozen -20°C | -21.5 | -25.0°C to -18.0°C | -21.2 | 0 | 98.5 | 120000 | GDP Certified | Optimal
Ultra-Low Freezer -80°C Bank (MAb) | Ultra-Low -80°C | -82.4 | -85.0°C to -75.0°C | -81.8 | 0 | 99 | 45000 | GDP Certified | Optimal
Reefer Truck Dispatch RT-01 | In-Transit 2-8°C | 5.1 | 2.0°C to 8.0°C | 5.2 | 0 | 95 | 85000 | GDP Certified | Optimal
Reefer Truck Dispatch RT-02 | In-Transit 2-8°C | 4.9 | 2.0°C to 8.0°C | 5 | 0 | 94.2 | 78000 | GDP Certified | Optimal
COLD CHAIN INVENTORY TOTAL | [8 empty] | Zero Excursions

## BPOM 2D Barcode Traceability
BPOM 2D DATAMATRIX SERIALIZATION & TRACEABILITY
GS1 GTIN Unique Serialization, Anti-Counterfeiting Verification, Aggregation (Case/Pallet) & Track & Trace
Product Packaging Line | Dosage Product | GS1 GTIN Code | Serialized Cartons | Verification Rate (%) | Aggregation Errors | BPOM Server Sync | Tamper Evident Pass (%) | Scan Speed (PPM) | Serialization Status
Blister Packaging Line 1 | Paracetamol 500mg Strip | 08991234001015 | 385000 | 100 | 0 | Synced BPOM Cloud | 100 | 240 | Fully Serialized
Blister Packaging Line 2 | Metformin 500mg Strip | 08991234002012 | 295000 | 100 | 0 | Synced BPOM Cloud | 100 | 220 | Fully Serialized
Vial Labeling & Cartoning Line | Trastuzumab 440mg Vial | 08991234003019 | 14800 | 100 | 0 | Synced BPOM Cloud | 100 | 90 | Fully Serialized
Dry Powder Injectable Line | Ceftriaxone 1g Vial | 08991234004016 | 42500 | 100 | 0 | Synced BPOM Cloud | 100 | 120 | Fully Serialized
Vaccine Pre-filled Syringe Line | Influenza Vaccine 0.5mL | 08991234005013 | 58000 | 100 | 0 | Synced BPOM Cloud | 100 | 140 | Fully Serialized
SERIALIZATION NETWORK TOTAL | [8 empty] | 100% BPOM Verified

## Clinical Trials EDC & Phase
CLINICAL TRIAL PIPELINE & ELECTRONIC DATA CAPTURE (EDC)
GCP Compliance, Patient Recruitment Target, Serious Adverse Events (SAE), Protocol Adherence & Endpoints
Clinical Trial Study Protocol | Therapeutic Area | Study Phase | Target Patients | Enrolled Patients | Recruitment Rate (%) | SAE Reports | eCRF Completion (%) | GCP Audit Clearance | Study Milestone
CT-ONC-2024: Biosimilar Trastuzumab | Oncology (HER2+ Breast) | Phase III Equivalence | 420 | 415 |  | 2 | 98.5 | Approved GCP | On Schedule
CT-VAC-2025: NextGen TB Subunit | Infectious Diseases | Phase IIb Efficacy | 650 | 642 |  | 1 | 99.1 | Approved GCP | On Schedule
CT-DIA-2025: Oral GLP-1 Analogue | Diabetes & Metabolism | Phase IIa Dose Ranging | 280 | 275 |  | 0 | 99.4 | Approved GCP | On Schedule
CT-IMM-2024: Biosimilar Adalimumab | Immunology & Arthritis | Phase III Pharmacokinetics | 380 | 378 |  | 1 | 98.8 | Approved GCP | On Schedule
CT-CAR-2026: Novel Anti-Thrombotic | Cardiovascular | Phase I Safety / PK | 80 | 80 |  | 0 | 100 | Approved GCP | On Schedule
CLINICAL PIPELINE TOTAL | [8 empty] | High Pipeline Velocity

## Drug Formulation & Bioassay
DRUG FORMULATION DEVELOPMENT & IN-VITRO BIOASSAYS
Monoclonal Antibody Affinity (KD), Binding ELISA, Cell Viability %, HPLC Purity & Formulation Stability
Formulation Candidate | Target Molecule | Expression System | Purity by HPLC (%) | Binding Affinity (nM) | Cell Viability (%) | Accelerated Stability (Mos) | Aggregates SEC (%) | USP / Ph.Eur Spec | R&D Phase Health
MAb-001 Form A | Trastuzumab Biosimilar | CHO Cell Culture | 99.2 | 0.45 | 96.5 | 24 | 0.4 | Compliant Ph.Eur | Candidate Qualified
MAb-002 Form B | Adalimumab Biosimilar | CHO Cell Culture | 98.9 | 0.32 | 95.8 | 24 | 0.6 | Compliant USP | Candidate Qualified
VAC-003 Form C | Recombinant Spike Ag | Pichia Pastoris Yeast | 97.5 | 1.2 | 94 | 18 | 0.8 | Compliant WHO Spec | Candidate Qualified
OSD-004 Extended | Metformin Sustained Rel | Synthetic Organic | 99.8 | 0 | 0 | 36 | 0 | Compliant USP | Candidate Qualified
PEPT-005 Oral | GLP-1 Enteric Coated | Peptide Synthesis | 98.4 | 2.1 | 97.2 | 18 | 0.5 | Compliant USP | Candidate Qualified
BIOASSAY AVERAGE | [8 empty] | High Affinity Pass

## Sterile Autoclave & CIP SIP
ASEPTIC STERILIZATION, AUTOCLAVES & CIP / SIP VALIDATION
Clean-In-Place (CIP), Steam-In-Place (SIP), F0 Sterilization Lethality, Chamber Pressure & Bio-Indicators
Sterilization Equipment | Process Cycle | Sterilization Temp (°C) | Exposure Time (Min) | Chamber Pres (bar) | F0 Lethality Value | Bio-Indicator Result | CIP Conductivity (µS) | Validation Status | Sterility Assurance
Autoclave Chamber AC-01 | Porous Load Steam | 121.5 | 30 | 2.15 | 32.4 | Negative (Killed) | 0.8 | Validated Annual | PFS Level 10⁻⁶
Autoclave Chamber AC-02 | Porous Load Steam | 121.8 | 30 | 2.18 | 34 | Negative (Killed) | 0.7 | Validated Annual | PFS Level 10⁻⁶
Bioreactor 2000L SIP System | Steam-In-Place (SIP) | 122 | 45 | 2.2 | 48.5 | Negative (Killed) | 1.1 | Validated Annual | PFS Level 10⁻⁶
Filling Line Transfer Piping CIP | Alkali & Acid Wash | 85 | 60 | 1.8 | 0 | Negative (Killed) | 0.5 | Validated Annual | Clean Residual Free
Freeze Dryer Lyophilizer Ly-01 | SIP & ETO Chamber | 121.2 | 40 | 2.1 | 38.2 | Negative (Killed) | 0.6 | Validated Annual | PFS Level 10⁻⁶
STERILIZATION SYSTEM AUDIT | [5 empty] | All Indicators Killed |  |  | 100% Sterile Assurance

## Active Pharma Ingredient API
ACTIVE PHARMACEUTICAL INGREDIENT (API) & BIOREACTORS
Fed-Batch Fermentation, Viable Cell Density (VCD), Titer (g/L), Crystallization & Chemical Synthesis Yield
API Molecule / Target | Synthesis Route | Bioreactor / Tank ID | Working Volume (L) | Peak VCD (10⁶ Cells/mL) | Titer (g/L) | Harvest Yield (Kg) | Chromatography Yield (%) | Purity by HPLC (%) | API Production Health
Trastuzumab MAb API | CHO Mammalian Cell | BR-2000L-01 | 2000 | 18.5 | 4.2 | 8.4 | 88.5 | 99.4 | Optimal
Adalimumab MAb API | CHO Mammalian Cell | BR-2000L-02 | 2000 | 17.8 | 3.9 | 7.8 | 87.2 | 99.1 | Optimal
Recombinant Insulin API | E. coli Fermentation | FR-1000L-01 | 1000 | 45 | 5.5 | 5.5 | 84 | 98.8 | Optimal
Metformin HCl API | Chemical Synthesis | SYN-TANK-01 | 5000 | 0 | 0 | 850 | 94.5 | 99.8 | Optimal
Paracetamol Pure API | Chemical Synthesis | SYN-TANK-02 | 6000 | 0 | 0 | 1200 | 95 | 99.9 | Optimal
API SYNTHESIS TOTAL / AVG | [8 empty] | High Bioprocess Titer

## Pharmacovigilance Adverse Event
PHARMACOVIGILANCE (PV) & POST-MARKET SAFETY (e-MESO)
MedDRA Coding, Adverse Drug Reactions (ADR), Serious Adverse Events (SAE), BPOM & WHO VigiBase Sync
Marketed Drug Product | Active Ingredient | Units Distributed | ADR Reports | Serious Adverse Events | Causality: Certain (%) | Reporting Timeliness (%) | BPOM e-MESO Sync | PSUR Safety Review | Benefit-Risk Balance
Trastuzumab 440mg Lyophilized | Trastuzumab Biosimilar | 28500 | 14 | 1 | 12 | 100 | e-MESO Synced | Approved Annual | Positive Favorable
Adalimumab 40mg Autoinjector | Adalimumab Biosimilar | 34200 | 18 | 0 | 8.5 | 100 | e-MESO Synced | Approved Annual | Positive Favorable
Metformin 500mg Extended Rel | Metformin Hydrochloride | 12500000 | 42 | 0 | 5 | 100 | e-MESO Synced | Approved Annual | Positive Favorable
Paracetamol 500mg Film Coated | Paracetamol Pure API | 18500000 | 28 | 0 | 4.2 | 100 | e-MESO Synced | Approved Annual | Positive Favorable
Ceftriaxone 1g Injectable | Ceftriaxone Sodium | 420000 | 22 | 1 | 15 | 100 | e-MESO Synced | Approved Annual | Positive Favorable
PHARMACOVIGILANCE TOTAL | [8 empty] | Robust Drug Safety

## Clean Water WFI TOC Telemetry
PHARMACEUTICAL WATER UTILITIES (WFI & PW) TELEMETRY
Water for Injection (WFI), Total Organic Carbon (TOC ppb), Conductivity (µS/cm), Endotoxin & Bioburden
Water Generation System | Water Quality Grade | Generation Rate (L/Hr) | Conductivity (µS/cm) | TOC (ppb) | USP Limit TOC | Temp (°C) | Bioburden (CFU/100mL) | Ozone Sanitization | Water Utility Health
Multiple-Effect Distillation Unit 1 | Water for Injection (WFI) | 2500 | 0.72 | 28 | <= 500 ppb | 82.5 | 0 | Continuous Hot Loop | Pharmacopeia Pass
Multiple-Effect Distillation Unit 2 | Water for Injection (WFI) | 2500 | 0.68 | 24 | <= 500 ppb | 83 | 0 | Continuous Hot Loop | Pharmacopeia Pass
Reverse Osmosis & EDI System 1 | Purified Water (PW) | 6000 | 1.05 | 65 | <= 500 ppb | 22 | 0 | Ozone Automated Daily | Pharmacopeia Pass
Reverse Osmosis & EDI System 2 | Purified Water (PW) | 6000 | 0.98 | 58 | <= 500 ppb | 22.5 | 0 | Ozone Automated Daily | Pharmacopeia Pass
Pure Steam Generator PSG-01 | Clean Pure Steam | 1200 | 0.55 | 18 | <= 500 ppb | 145 | 0 | High Temp Superheat | Pharmacopeia Pass
PHARMA WATER GENERATION TOTAL | [8 empty] | Ultra-Pure Compliant

## Pharma Cybersecurity & 21CFR11
PHARMA CYBERSECURITY & FDA 21 CFR PART 11 INTEGRITY
Audit Trails, Electronic Signatures, SCADA Historian Backups, UU PDP Protection & ALCOA+ Principles
GxP Computerized System | Regulation Standard | Audit Trail Enforced | Electronic Signature | Data Records Protected | Audit Trail Review SLA | Cyber Incidents | Data Integrity Score (%) | Backup RPO (Hours) | Compliance Posture
Werum PAS-X Manufacturing MES | FDA 21 CFR Part 11 / EU Annex 11 | Enforced 100% | Dual Signature | 850000 | Daily 100% | 0 | 100 | 1 | Hardened GxP
Waters Empower Chromatography LIMS | FDA 21 CFR Part 11 / Data Integrity | Enforced 100% | Biometric e-Sign | 420000 | Daily 100% | 0 | 100 | 1 | Hardened GxP
Siemens SCADA Building Mgmt (BMS) | ISPE GAMP 5 / IEC 62443 | Enforced 100% | Role-Based RBAC | 1250000 | Weekly 100% | 0 | 100 | 2 | Hardened GxP
Medidata Rave Clinical EDC Cloud | FDA 21 CFR Part 11 / GCP ICH E6 | Enforced 100% | Dual Signature | 185000 | Daily 100% | 0 | 100 | 0.5 | Hardened GxP
SAP S/4HANA Life Sciences ERP | ISO 27001 / UU PDP 27/2022 | Enforced 100% | SAML 2.0 MFA | 620000 | Weekly 100% | 0 | 100 | 1 | Hardened GxP
DATA INTEGRITY PORTFOLIO TOTAL | [8 empty] | ALCOA+ Validated

## Strategic Pharma Scorecard
STRATEGIC BIOPHARMA SCORECARD & REGULATORY EXCELLENCE
R&D Pipeline Velocity, First-Pass Yield (FPY), BPOM/WHO Prequalification & Environmental Sustainability
Strategic Pillar / Operational Metric | Industry Benchmark | Corporate Target | Actual Performance | Attainment (%) | Weight (%) | Score Contribution | Executive Owner | Regulatory Standard | Executive Status
Batch First-Pass Quality Yield (%) | >= 98.0% | 99 | 99.8 | 100.8 | 20 |  | VP Quality Assurance | BPOM GMP / PIC/S | Exceeded
Cleanroom Environmental Conformance (%) | >= 99.0% | 99.5 | 100 | 100.5 | 15 |  | Director Manufacturing | ISO 14644-1 | Exceeded
Cold Chain 2-8°C Zero Excursion Rate | 100.0% | 100 | 100 | 100 | 15 |  | VP Supply Chain Logistics | WHO GDP Annex 5 | Target Met
BPOM Serialization Serialization Pass | 100.0% | 100 | 100 | 100 | 10 |  | VP Packaging & Tech | BPOM PerKa 22/2020 | Target Met
Clinical Trial Recruitment Velocity | >= 95.0% | 98 | 99.1 | 101.1 | 10 |  | Chief Medical Officer | ICH GCP E6(R2) | Exceeded
Pharmacovigilance Reporting SLA (%) | >= 98.0% | 99 | 100 | 101 | 10 |  | Head of Drug Safety PV | BPOM e-MESO | Exceeded
Water for Injection (WFI) TOC Pass Rate | 100.0% | 100 | 100 | 100 | 10 |  | Engineering Director | USP <643> TOC | Target Met
FDA 21 CFR Part 11 Data Integrity | 100.0% | 100 | 100 | 100 | 10 |  | Chief Information Officer | 21 CFR Part 11 | Target Met
STRATEGIC BIOPHARMA COMPOSITE SCORE | [8 empty] | Global Audit Ready